User Stories

Format

As [a user persona], I want [to perform this action] so that [I can achieve this goal].

- As a patient, I want to login to my account so that I can access my personalized data.

- As a clinician, I want to login to my account so that I can access all my assigned patient’s data, to monitor and manage all my patients.

- As an admin, I want to create and manage user accounts so that the right people can access the system securely.

- As a patient, I want to receive real-time alerts when high-pressure regions are detected so that I can adjust my position and prevent pressure ulcers.

- As a clinician, I want to review flagged high-pressure events in the database so that I can assess patient risk and intervene if needed.

- As a patient, I want to view my real-time pressure heat map and key metrics on a dashboard so that I can understand my current posture and risks.

- As a clinician, I want to analyse and compare key metrics such as Peak Pressure Index and Contact Area % so that I can evaluate patient risk levels over time.

- As a patient, I want to see graphs of my key pressure metrics over different time ranges (“over last hour, last 6h, 24h etc”) so that I can understand trends in my posture and pressure levels.

- As a clinician, I want to generate reports that compare current and past datasets (day-to-day or hourly comparisons) so that I can monitor patient progress and spot deterioration.

- As a patient, I want to submit comments about my experience directly on the dashboard at a specific timestamp so that I can provide context about my condition when pressure issues occur.

- As a clinician, I want to review and reply to patient comments in-thread so that I can provide tailored advice and maintain ongoing communication.

- As a patient, I want the visualizations to be simple, clear, and easy to understand so that I can interpret my health information without medical expertise.

- As a clinician, I want advanced but clear visualizations of patient data so that I can quickly identify risk patterns and explain them to patients or caregivers.